## Sheet1
Medical Device Recalls and Early Alerts ¦ FDA
Date | Issue | Product Area | Status
10/09/2026 | Early Alert: Diagnostic Ultrasound System Issue from Philips Ultrasound | Diagnostic Ultrasound | Early Alert – FDA collecting information
10/05/2026 | IV Tubing Set Correction: ICU Medical Updates Use Instructions for IV Tubing Sets | IV Tubing Set | Recall Confirmed
10/05/2026 | Infusion Set Recall: BD and CareFusion 303, Inc. Remove BD Alaris Pump Infusion Sets | Infusion Set | Recall Confirmed
10/02/2026 | Breathing Circuit Recall: Draeger Removes VentStar Resus Neo Hoses | Breathing Circuit | Recall Confirmed
09/25/2026 | Angiographic Catheter Recall: Boston Scientific Removes Imager II Angiographic Catheters | Angiographic Catheter | Recall Confirmed
09/24/2026 | Heart Pump Controller Recall: Abiomed Removes Automated Impella Controllers | Heart Pump Controller | Recall Confirmed
09/24/2026 | Convenience Kit Correction: Becton Dickinson Issues Correction for Kits and Procedure Trays Containing Recalled Sodium Chloride Ampules | Convenience Kit | Recall Confirmed
09/23/2026 | Early Alert: Ventilator Issue from React Health | Ventilator | Early Alert – FDA collecting information
09/23/2026 | Early Alert: Heart Pump Controller Issue from Abiomed | Heart Pump Controller | Early Alert – FDA collecting information
09/21/2026 | Convenience Kit Correction: AVID Medical Issues Correction for Kits Containing Huons Sodium Chloride Ampules | Convenience Kit | Recall Confirmed
09/21/2026 | Ventilator Recall: CooperSurgical Removes INCA Infant Nasal CPAP Sets | Ventilator | Recall Confirmed
09/18/2026 | Sodium Chloride Flush Recall: Spectra Medical Removes Sodium Chloride Injection USP Ampules | Sodium Chloride Flush | Recall Confirmed
09/18/2026 | Nitric Oxide Delivery System Correction: NOxBOX Updates Use Instructions for NOxBOXi Nitric Oxide Delivery System | Nitric Oxide Delivery System | Recall Confirmed
09/15/2026 | Esophageal pH Monitoring Capsule Recall: Medtronic and Given Imaging Remove Esophageal pH Monitoring Capsule Delivery Device | Esophageal pH Monitoring Capsule | Recall Confirmed
09/10/2026 | Epidural Kit Correction: Medical Action Industries Issues Correction for Epidural Kits Containing Spectra Medical Devices Lidocaine Ampules | Epidural Kit | Recall Confirmed
09/03/2026 | Spinal Cord Stimulator Recall: Boston Scientific Removes Infinion CX Leads | Spinal Cord Stimulator | Recall Confirmed
09/03/2026 | Monitoring System Correction: GE HealthCare Updates Use Instructions for Portrait Core Services Software | Monitoring System | Recall Confirmed
09/02/2026 | Convenience Kit Correction: Medline Issues Correction for Convenience Kits Containing BD ChloraPrep Applicators | Convenience Kit | Recall Confirmed
09/02/2026 | Catheter Recall Expansion: Medline Industries Removes Reprocessed Electrophysiology and Ultrasound Catheters | Electrophysiology Catheter and Ultrasound Catheter | Recall Confirmed
09/01/2026 | Breathing Circuit Recall: Medline Removes Neonatal and Infant Heated Wire Breathing Circuits | Breathing Circuit | Recall Confirmed
08/28/2026 | Early Alert: IV Start Kit Issue from Avid Medical | Convenience Kit | Early Alert – FDA collecting information
08/27/2026 | Convenience Kit Correction: AVID Medical Issues Correction for Kits Containing Medline Namic Star Off Handle Manifolds | Convenience Kit | Recall Confirmed
08/26/2026 | Percutaneous Catheter Recall: Boston Scientific Removes ENROUTE Transcarotid Neuroprotection System | Percutaneous Catheter | Recall Confirmed
08/24/2026 | Early Alert: Convenience Kit Issue from AVID Medical | Convenience Kit | Early Alert – FDA collecting information
08/24/2026 | Early Alert: Convenience Kit Issue from Medline | Convenience Kit | Early Alert – FDA collecting information
08/20/2026 | Convenience Kit Recall: Medline Issues Correction for Convenience Kits Containing B. Braun Bupivacaine Hydrochloride Components | Convenience Kit | Recall Confirmed
08/17/2026 | Intraosseous Needle Set Recall: Becton Dickinson Removes Certain Intraosseous Vascular Access System Needle Sets | Intraosseous Needle Set | Recall Confirmed
08/13/2026 | Intravascular Administration Set Recall: Baxter Removes Duo-Vent Solution Sets | Intravascular Administration Set | Recall Confirmed
08/12/2026 | Convenience Kit Correction: Medline Issues Correction for Convenience Kits Containing ICU Medical Pain Management Components | Convenience Kit | Recall Confirmed
08/11/2026 | Breathing Circuit Set Recall: Hamilton Medical Removes Breathing Circuit Set | Breathing Circuit | Recall Confirmed
08/10/2026 | Catheter Introducer Correction: Abiomed and Oscor Issue Correction for Catheter Introducer | Catheter Introducer | Recall Confirmed
08/03/2026 | Convenience Kit Correction: Medline Issues Correction for Kits Containing Huons Lidocaine Hydrochloride and Bupivacaine Hydrochloride in Dextrose Injection | Convenience Kits | Recall Confirmed
08/03/2026 | Convenience Kit Correction: Medical Action Industries Issues Correction for Kits Containing Recalled Namic Manifolds | Convenience Kits | Recall Confirmed
07/31/2026 | Ventilator Correction: Resmed Issues Correction for Astral Ventilator | Ventilator | Recall Confirmed
07/31/2026 | Catheter Introducer Kit Recall: Abiomed Removes 14Fr Low Profile Introducer Kits | Catheter Introducer Kit | Recall Confirmed
07/30/2026 | Convenience Kit Correction: Argon Medical Issues Correction for Convenience Kits Containing Spectra Medical Device Lidocaine Ampules | Convenience Kits | Recall Confirmed
07/17/2026 | Thoracic Stent Graft Recall: Bolton Medical Removes Relay Pro System | Thoracic Stent Graft | Recall Confirmed
07/16/2026 | Convenience Kit Correction: Arrow International Issues Correction for Convenience Kits Containing Recalled Huons Lidocaine and Bupivacaine and Saline | Convenience Kit | Recall Confirmed
07/16/2026 | Convenience Kit Recall: B. Braun Medical, Inc. Removes Spinal Anesthesia Kits Containing Huons Bupivacaine Hydrochloride in Dextrose Injection, USP | Spinal Anesthesia Kit | Recall Confirmed
07/14/2026 | Positive Pressure Breathing Device Correction: Baxter Issues Correction for Volera Positive Pressure Breathing Devices | Positive Pressure Breathing Device | Recall Confirmed
07/13/2026 | Pulmonary Valve Catheter Delivery System Recall: Medtronic Removes Harmony Catheter Delivery Catheter System (DCS) | Pulmonary Valve Catheter Delivery System | Recall Confirmed
07/07/2026 | Infusion Pump Correction: Fresenius Kabi Issues Correction for Ivenix Large Volume Infusion Pump | Infusion Pump | Recall Confirmed
07/07/2026 | Infusion Pump Correction: Fresenius Kabi Issues Correction for dropped or jarred Ivenix Large Volume Infusion Pumps | Infusion Pump | Recall Confirmed
07/06/2026 | Convenience Kit Correction: Windstone Medical Packaging, Inc. Issues Correction for Convenience Kit | Convenience Kit | Recall Confirmed
07/02/2026 | Heart Pump Recall: Abiomed Removes Impella CP Sets with SmartAssist | Heart Pump | Recall Confirmed
06/22/2026 | Infant Resuscitation System Correction: GE HealthCare Issues Correction for Giraffe and Panda Infant Resuscitation Systems and Warmers with a M1091607-R Blender | Infant Resuscitation System | Recall Confirmed
06/22/2026 | Heart Pump Controller Correction: Abiomed Updates Use Instructions for Automated Impella Controllers | Heart Pump Controller | Recall Confirmed
06/15/2026 | Anesthesia Machine Correction: Draeger, Inc. Issues Correction for Atlan A350 and A350XL Anesthesia Workstations | Anesthesia Machine | Recall Confirmed
06/13/2026 | Convenience Kit Correction: Medline Issues Correction for Kits Containing Huons Bupivacaine Hydrochloride in Dextrose Injection, USP | Convenience Kit | Recall Confirmed
06/11/2026 | Heart Pump Correction: Abiomed Issues Correction for Automated Impella Controllers | Heart Pump | Recall Confirmed
06/03/2026 | Anesthesia Kit Correction: Becton Dickinson Issues Correction for BD Spinal Trays Containing Bupivacaine Ampules | Convenience Kit | Recall Confirmed
05/29/2026 | Pediatric Care Bed Correction: KayserBetten Issues Correction for KayserBett IDA Beds | Pediatric Care Bed | Recall Confirmed
05/28/2026 | Ventilator Correction: Philips Issues Correction for Trilogy Evo Platform Ventilators | Ventilator | Recall Confirmed
05/28/2026 | Cryoprobe Recall: Erbe USA Removes Flexible Cryoprobes | Cryoprobe | Recall Confirmed
05/26/2026 | Manifold Recall: Medline Removes Namic Star Off Handle Manifolds | Manifold | Recall Confirmed
05/26/2026 | Dialysis Catheter Kit Recall: Arrow International Removes Dialysis Catheter Kits Containing Merit Medical Splittable Sheath Introducers | Dialysis Catheter Kit | Recall Confirmed
05/21/2026 | Ventilator Recall: React Health Removes VOCSN V+Pro Ventilators | Ventilator | Recall Confirmed
05/21/2026 | Automated Compounding System Recall: Omnicell Removes Syringe Labels Used with the i.v.STATION Automated Compounding System | Automated Compounding System | Recall Confirmed
05/12/2026 | Convenience Kit Recall: AVID Medical Removes Convenience Kits Containing Namic RA Syringes | Convenience Kit | Recall Confirmed
05/11/2026 | Convenience Kit Recall: Aligned Medical Solutions Removes Convenience Kits Containing Namic RA Syringes | Convenience Kit | Recall Confirmed
05/07/2026 | Pacemaker Correction: Boston Scientific Issues Correction for ACCOLADE Pacemakers and CRT-Ps | Pacemaker, CRT-P | Recall Confirmed
05/07/2026 | Convenience Kit Recall: Medical Action Industries Removes Convenience Kits Containing Namic RA Syringes | Convenience Kit | Recall Confirmed
05/07/2026 | Convenience Kit Recall: American Contract Systems Removes Convenience Kits Containing Namic RA Syringes | Convenience Kit | Recall Confirmed
05/05/2026 | Surgical Stapler Reload Recall: Intuitive Surgical Removes 8mm SureForm 30 Gray Reloads | Surgical Stapler | Recall Confirmed
05/05/2026 | Sizing Catheter Recall: Cook Medical Removes Various Centimeter Sizing Catheters | Sizing Catheter | Recall Confirmed
04/23/2026 | Cranial Drill Recall: Integra LifeSciences Recalls Codman Disposable Perforators Due to Risk of Device Disassembly | Cranial Drill | Recall Confirmed
04/22/2026 | Hemodialysis Bloodline Set Correction: B. Braun Medical Inc. Issues Correction for Streamline Airless System Hemodialysis Bloodlines and B3 Low Volume Bloodlines | Bloodline Set | Recall Confirmed
04/15/2026 | Reconstruction Prosthesis Correction: Stryker Updates Use Instructions for Patient-Fitted TMJ Implants | Reconstruction Prosthesis | Recall Confirmed
04/15/2026 | Ventilator Tubing Correction: Percussionaire Corporation Updates Use Instructions for Phasitron In-Line Valve | Ventilator Tubing | Recall Confirmed
04/14/2026 | Anesthesia Workstation Correction: Draeger Issues Correction for Atlan A350 and A350 XL | Anesthesia Workstation | Recall Confirmed
04/14/2026 | Dialysis Catheter Recall: Merit Medical Removes 16F Dual-Valved Splittable Sheath Introducer | Dialysis Catheter | Recall Confirmed
04/09/2026 | Ventilator Correction: Baxter Updates Use Instructions for Volara Single-Patient Use Circuits | Ventilator | Recall Confirmed
04/09/2026 | Angiographic Syringe Recall: Medline Industries Removes Namic Angiographic Rotating Adaptor Control Syringes | Angiographic Syringe | Recall Confirmed
04/03/2026 | Purge Cassette Recall: Abiomed Removes Impella Heart Pump Purge Cassettes | Heart Pump | Recall Confirmed
04/03/2026 | Heart Pump Correction: Abiomed Updates Use Instructions for Impella RP with SmartAssist Devices | Heart Pump | Recall Confirmed
03/16/2026 | Dialysis Tubing Set Correction: Vantive Updates Use Instructions for Prismaflex and Oxiris Sets | Dialyzer Accessory | Recall Confirmed
03/16/2026 | Convenience Kit Recall: Integra LifeSciences Removes Tuohy Needle | Convenience Kit | Recall Confirmed
03/05/2026 | Catheter Recall: Medline Industries Removes Reprocessed Electrophysiology and Ultrasound Catheters | Electrophysiology Catheter and Ultrasound Catheter | Recall Confirmed
02/25/2026 | Infusion Pump Software Correction: Fresenius Kabi Issues Correction for Ivenix Large Volume Pump Software | Infusion Pump Software | Recall Confirmed
02/25/2026 | Stent Recall: Boston Scientific Removes Certain AXIOS Stents and Electrocautery-Enhanced Delivery Systems | Stent | Recall Confirmed
02/23/2026 | Insufflation Unit Recall: Olympus Removes High Flow Insufflation Units | Insufflation Unit | Recall Confirmed
02/11/2026 | Emergency Response Safety Kit Recall: Airlife Removes Certain Broselow Pediatric Emergency Rainbow Tapes and Broselow ALS Organizers | Broselow Rainbow Tape | Recall Confirmed
02/05/2026 | Detachable Coil System Recall: J&J MedTech/CERENOVUS Inc. Remove CEREPAK Detachable Coil System | Detachable Coil System | Recall Confirmed
01/16/2026 | Anesthetic Vaporizer Recall: Draeger Removes Vapor 2000 and Vapor 3000 Vaporizers | Anesthetic Vaporizer | Recall Confirmed
01/16/2026 | Anesthesia Kit Recall: Medline Removes Anesthesia Circuits and Anesthesia Circuit Kits | Anesthesia Kit | Recall Confirmed
01/09/2026 | Organ Recovery Pack Correction: AVID Medical Issues Correction for Medical Convenience and Organ Recovery Kits | Convenience Kit | Recall Confirmed
01/05/2026 | Infusion Pump Software Recall: Baxter Removes Sigma Spectrum Infusion System Platforms | Infusion Pump Software | Recall Confirmed
01/05/2026 | Esophageal pH Monitoring Capsule Recall: Medtronic and Given Imaging Remove Bravo CF Capsule Delivery Devices | Esophageal pH Monitoring Capsule | Recall Confirmed
01/05/2026 | Diagnostic Intravascular Catheter Recall: Conavi Removes Novasight Hybrid Catheters | Diagnostic Intravascular Catheter | Recall Confirmed
01/05/2026 | Intravascular PICC Catheter Recall: Bard Removes PowerPICC Intravascular Catheters | Intravascular PICC Catheter | Recall Confirmed
01/05/2026 | Aspiration System Correction: Calyxo Updates Use Instructions for CVAC Aspiration Systems | Aspiration System | Recall Confirmed
01/05/2026 | Infusion Pump Recall: Fresenius Kabi Removes Ivenix Large Volume Pumps | Infusion Pump | Recall Confirmed
01/02/2026 | Custom Surgical Pack Recall: Alcon Removes Custom Pak Ophthalmic Procedure Packs | Custom Surgical Pack | Recall Confirmed
12/30/2025 | Intravascular Administration Set Recall: ICU Medical Removes IV Gravity Burette Set | Intravascular Administration Set | Recall Confirmed
12/29/2025 | Anesthesia System Correction: GE HealthCare Updates Use Instructions for CareStation Anesthesia Systems | Anesthesia Systems | Recall Confirmed
12/23/2025 | Catheter Mount Recall: Draeger Removes ErgoStar Catheter Mounts | Catheter Mount | Recall Confirmed
12/23/2025 | Endovascular Graft Recall: Cook Medical Removes Zenith Alpha 2 Thoracic Endovascular Graft | Endovascular Grafts | Recall Confirmed
12/23/2025 | System Correction: IMPRIS Imaging Inc Issues Correction for IMRIS Neuro III-SV | MRI Systems | Recall Confirmed
12/22/2025 | Cardiac Cannula Recall: Medtronic Removes DLP Left Heart Vent Catheter | Cardiac Cannula | Recall Confirmed
12/22/2025 | Infusion Pump Correction: Baxter Issues Correction for Novum IQ Large Volume Pumps | Infusion Pump | Recall Confirmed
12/22/2025 | Microbore Extension Set Recall: B. Braun Medical Inc. Removes Microbore Extension Sets | Microbore Extension Set | Recall Confirmed
12/22/2025 | Blood Pump Controller Correction: Abiomed Updates Use Instructions for Automated Impella Controllers | Blood Pump Controller | Recall Confirmed
12/03/2025 | Correction Alert: Olympus Updates Use Instructions for Ligating Device | Esophageal Ligator | Recall Confirmed
12/01/2025 | Recall Alert: Glycar SA Removes Pericardial Patch | Intracardiac Patch | Recall Confirmed
11/28/2025 | Correction Alert: Becton Dickinson Updates Use Instructions for BD Alaris Pump Issue | Infusion Pumps | Recall Confirmed
11/26/2025 | Recall Alert: BALT USA Removes MEGA Ballast Distal Access Platform | Ventilator Systems | Recall Confirmed
11/26/2025 | Alert: Baxter Permanently Removes Life2000 Ventilation System | Ventilator Systems | Recall Confirmed
11/21/2025 | Recall Alert: Intersurgical Inc Removes i-View Video Laryngoscope | Laryngoscope | Recall Confirmed
11/21/2025 | Correction Alert: Medline Industries, LP Updates Use Instructions for Medline Kits Containing Flexicare BritePro Solo Fiber Optic Laryngoscope Handles | Medical Convenience Kit | Recall Confirmed
11/20/2025 | Alert: NOxBOX Ltd. Issues Correction for NOxBOXi Nitric Oxide Delivery System Due to Risk for Nitric Oxide Dosing Fluctuations | Nitric Oxide Delivery System | Recall Confirmed
11/20/2025 | Alert: NOxBOX Ltd. Issues Correction for NOxBOXi Nitric Oxide Delivery System Due to Rapid Command Input Issue | Nitric Oxide Delivery System | Recall Confirmed
11/20/2025 | Alert: Medline Industries, LP Removes Certain Sterile Medline Convenience Kits | Convenience Kits | Recall Confirmed
11/19/2025 | Alert: Siemens Healthineers Issues Correction for 3 Tesla MRI Systems | 3T MRI Systems | Recall Confirmed
11/19/2025 | Alert: Update to Use Instructions for B Braun Hemodialysis Blood Tubing Set | Blood Tubing | Recall Confirmed
10/10/2025 | Alert: Automated Impella Controller Correction due to Cybersecurity Issue from Abiomed | Automated Impella Controller | Recall Confirmed
09/24/2025 | Blood and Plasma Warming Device Correction: 3M Company Issues Correction for Ranger Blood/Fluid Warming System | Blood and Plasma Warming Devices | Recall Confirmed
09/24/2025 | Endoscopic Aspiration Needle Recall: Olympus Removes Certain ViziShot 2 FLEX (19G) Needles Due to Potentially Deformed A-traumatic Tips | Bronchoscope Accessory | Recall Confirmed
09/23/2025 | Catheter Controller Recall: Abiomed Removes Automated Impella Controllers due to Purge Retainer Issues | Catheter Controllers | Recall Confirmed
09/18/2025 | Ablation Catheter Correction: Abbott Updates Use Instructions for TactiFlex Ablation Catheter | Ablation Catheters | Recall Confirmed
09/16/2025 | Convenience Kits Recall: Medline Removes Kits that May Contain Recalled Medtronic Cardiac Cannulas | Cardiac Cannula | Recall Confirmed
09/12/2025 | Update on Alert: Defibrillation Lead Issue from Boston Scientific | Defibrillation Systems | Recall Confirmed
08/29/2025 | Mobile Power Unit AC Power Cord Recall: Abbott Medical Removes AC Power Cord Associated with HeartMate Mobile Power Unit (MPU) Due to Potential Risk of the Cord Not Locking into Place | Heart Pump Accessory | Recall Confirmed
08/29/2025 | Breathing Circuit Set Recall: Hamilton Medical, Inc. Removes Coaxial Breathing Circuit Set Due to Possible Inner Blue Tube Cracks That May Impact Ventilation | Breathing Circuit Sets | Recall Confirmed
08/29/2025 | Manual Resuscitator Recall: Ambu Inc. Removes SPUR II Resuscitators Due to Blocked Manometer Port | Resuscitators | Recall Confirmed
08/28/2025 | Ventilator Correction: Hamilton Medical AG Corrects HAMILTON-C6 Due to Risk of Ventilation Interruption from Defective Circuit Board | Ventilators | Recall Confirmed
08/28/2025 | Applicator Recall: Integra LifeSciences Removes Extended Tip Applicator Due to Potential Sterility and Endotoxin Concerns | Applicators | Recall Confirmed
08/28/2025 | Infusion Pump Correction: ICU Medical, Inc. Issues Correction for Plum Duo Infusion System Due to Software Possibly Resulting in Pump Becoming Unresponsive | Infusion Pump | Recall Confirmed
08/27/2025 | Catheter Controller Recall: Abiomed Removes Automated Impella Controllers due to Pump Driver Circuit Assembly Issues | Catheters | Recall Confirmed
08/22/2025 | Vascular Stent Recall: Boston Scientific Removes Carotid WALLSTENT Monorail Endoprosthesis Due to Risk of Resistance During Device Withdrawal | Vascular Stent | Recall Confirmed
08/15/2025 | Infusion Pumps Correction: Baxter Issues Correction for Novum IQ Infusion Pumps | Infusion Pump | Recall Confirmed
08/12/2025 | Recall: Draeger Removes SafeStar and TwinStar Filters due to Risk of Misleading Carbon Dioxide (CO₂) Readings | Breathing System Filters | Recall Confirmed
08/06/2025 | Vascular Access Systems Correction: Boston Scientific Updates Use Instructions for WATCHMAN Access Systems | Vascular and Transseptal Access Systems | Recall Confirmed
08/04/2025 | Continuous Ventilator Correction: Philips Respironics Updates Use Instructions for BiPAP A30, A40, and V30 Devices Due to Interruptions and/or Loss of Therapy | Continuous Ventilator | Recall Confirmed
07/25/2025 | Disposable Surgical Stapler Correction: Ethicon Endo-Surgery, LLC Issues Correction for Endopath Echelon to Address Inadvertent Lockout During Surgical Procedures | Disposable Surgical Staplers | Recall Confirmed
07/24/2025 | Arterial Cannula Recall: Edwards Lifesciences Removes Arterial Cannula due to Risk of Wire Exposure | Arterial Cannula | Recall Confirmed
07/23/2025 | Mobile Lift Component Recall: Baxter Healthcare Corporation Removes Mobile Lift Component due to Risk of Improper Attachment | Mobile Lift Component | Recall Confirmed
07/22/2025 | Medical Procedure Kits Correction: Medline Industries, LP Issues Correction for Medline Craniotomy Kits Containing Codman Disposable Perforators Due to Risk for Device Disassembly | Medical Procedure Kits | Recall Confirmed
07/21/2025 | Continuous Ventilator (Respirator) Correction: Maquet Critical Care AB Updates Use Instructions for Servo Ventilator Systems Due to Risk of Inaccurate Compliance Measurement Leading to Improper Tidal Volume Delivery in Neonatal Patients | Continuous Ventilator | Recall Confirmed
07/21/2025 | Applicator Recall: Integra LifeSciences Removes MicroMyst Applicators Due to Potential Sterility Concerns | Piston Syringe | Recall Confirmed
07/18/2025 | Manual Resuscitator Recall: SunMed Holdings, LLC Removes Adult Manual Resuscitator Devices Due to Incorrect Assembly of B/V Filter | Manual Resuscitator | Recall Confirmed
07/15/2025 | Endoscopic Vessel Harvesting (EVH) System Correction: Getinge and Maquet Cardiovascular Update Use Instructions for VasoView HemoPro 2 (VH-4000 and VH-4001) EVH Systems due to Risk for Bent or Detached Heater Wires and Silicone Peeling or Detaching During Use | Endoscopic Vessel Harvesting (EVH) System | Recall Confirmed
07/10/2025 | Closed Suction Catheter Recall: Avanos Medical, Inc. Removes Ballard Closed Suction Systems Due to Risk of Non-Sterility | Closed Suction Catheter | Recall Confirmed
07/09/2025 | Infant Breathing System Recall: AirLife/Vyaire Removes Infant Heated Wire Circuits Due to Risk for Inadvertent Adapter Disconnection During Ventilation | Infant Breathing System | Recall Confirmed
07/09/2025 | Broselow Pediatric Emergency Rainbow Tape Recall: AirLife Removes Certain Broselow Pediatric Emergency Rainbow Tapes due to Misprinted Information | Pediatric Emergency Rainbow Tape | Recall Confirmed
06/25/2025 | Angiographic Catheter Recall: Cook Removes Beacon Tip Angiographic Catheters due to Tip Separation | Angiographic Catheter | Recall Confirmed
06/23/2025 | Resuscitation System Recall: ZOLL Circulation, Inc. Recalls AutoPulse NXT Resuscitation System Due to a Failure Code | Resuscitation System | Recall Confirmed
06/23/2025 | Medical Procedure Kits Correction: Medline Industries, LP Issues Correction for Medline Procedure Kits Containing Medtronic Aortic Root Cannula due to Potential Excess Material in Male Luers | Medical Procedure Kits | Recall Confirmed
06/23/2025 | Anesthesia Delivery Systems Recall: GE HealthCare Issues Correction for Certain Carestations due to Risk of Ineffective Ventilation | Anesthesia Delivery System | Recall Confirmed
06/17/2025 | Blood Products Administration Set Recall: Fresenius Kabi Removes Large Volume Pump Blood Products Administration Set due to Incorrect Assembly | Blood Products Administration Set | Recall Confirmed
06/17/2025 | Convenience Kit Recall: Medline Neonatal and Pediatric Kits Containing Smiths Medical ORAL/NASAL Endotracheal Tubes due to Unexpectedly Smaller Tube Diameter | Neonatal and Pediatric Convenience Kits | Recall Confirmed
06/17/2025 | Aspiration Catheter Recall: Q’Apel Medical, Inc. Removes Hippo 072 Aspiration System, Cheetah Delivery Tool | Aspiration Catheter | Recall Confirmed
06/16/2025 | Infusion Pump Recall: Zyno Medical Removes Certain Z-800 Series Infusion Pumps due to Software Issue | Infusion Pump | Recall Confirmed
06/13/2025 | Intra-Operative Positioning System Guidewire Recall: Centerline Biomedical Removes Certain IOPS Guidewires due to Delamination | IOPS Guidewire | Recall Confirmed
06/13/2025 | Liquid Bicarbonate Concentrate Recall: Nipro Removes MedicaLyte Liquid Bicarbonate Concentrate due to Contamination | Liquid Bicarbonate Concentrate | Recall Confirmed
06/05/2025 | Medtronic Removes Shiley Adult Flexible Tracheostomy Tube with TaperGuard Cuff Reusable Inner Cannula Due to Risk for Disconnection of the Flange from the Device Cannula | Tube tracheostomy and tube cuff | Recall Confirmed
06/05/2025 | Anesthesia Breathing Circuit Correction: Draeger, Inc. Updates Use Instructions for VentStar Flex and Anesthesia Circuit Kits Due to Risk of Inadequate Ventilation from Cracked Hoses | Anesthesia Breathing Circuit Kits | Recall Confirmed
06/05/2025 | Infusion Pump Correction: Baxter Issues Correction for Novum IQ Large Volume Pump due to Potential for Underinfusion | Infusion Pump | Recall Confirmed
06/03/2025 | False Alarm Issue with Infusion Pump from Smiths Medical | Infusion Pump | Recall Confirmed
06/03/2025 | Infusion Pump Thermal Damage Issue from Smiths Medical | Infusion Pump | Recall Confirmed
06/03/2025 | Infusion Pump Intermittent Connection Issue from Smiths Medical | Infusion Pump | Recall Confirmed
05/23/2025 | Esophagogastric Tube Recall: BD Issues Correction for Esophagogastric Balloon Tamponade Tubes due to Challenges Removing Plastic Plugs from Rubber Lumen | Esophagogastric Tube | Recall Confirmed
04/24/2025 | Heart Pump Accessory Removal: Abbott Removes HeartMate Mobile Power Unit due to Instances of Sudden Power Loss | Heart Pump Accessory | Recall Confirmed
03/31/2025 | Vascular Cannula Recall: Medtronic Removes Aortic Root Cannula Due to Unexpected Loose Material in the Male Luer | Aortic Cannula | Recall Confirmed
03/25/2025 | Endotracheal Tube Recall: Smiths Medical Removes Intubation ORAL/NASAL Endotracheal Tubes Due to Smaller Than Expected Tube Diameter That May Cause Underventilation | Endotracheal Tube | Recall Confirmed
03/20/2025 | Infusion Pump Software Correction: Becton, Dickinson and Company (BD) Issues Correction for BD Alaris Systems Manager and Care Coordination Engine Infusion Adapter Software Due to Risk for Outdated Automated Programming Requests to Load | Infusion Pump Software | Recall Confirmed
03/20/2025 | Update on Alert: Infusion Pump Issue from Baxter Healthcare Corporation | Infusion Pump | Recall Confirmed
03/20/2025 | Update on Alert: Atherectomy Catheter System Issue from Bard Peripheral Vascular | Atherectomy Catheter System | Recall Confirmed
03/19/2025 | Implantable Port Recall: Smiths Medical Removes ProPort Plastic Implantable Ports Due to Manufacturing Error that May Cause Separation | Implantable Port | Recall Confirmed
03/18/2025 | Embolization Device Recall and Correction: Medtronic Removes Unused 027 Compatible Pipeline Vantage Embolization Device with Shield Technology, Updates Use Instructions for 021 Compatible Pipeline Vantage Embolization Devices due to Increased Risk of Incomplete Wall Apposition and Braid Deformation | Embolization Device | Recall Confirmed
03/05/2025 | Update on Alert: Infusion Pump Software Issue from Fresenius Kabi USA | Infusion Pump Software | Recall Confirmed
03/05/2025 | Update on Alert: Solution Set Issue from Baxter Healthcare Corporation | Solution Sets | Recall Confirmed
03/03/2025 | Endovascular System Recall: Philips Removes and Discontinues Distribution of Tack Endovascular System Due to User Challenges That Caused Additional Procedures to Reposition or Remove Implant | Endovascular System | Recall Confirmed
03/03/2025 | Vaporizer Recall: Getinge Removes Vaporizer Sevoflurane Quick-Fil and Expands Recall of Vaporizer Sevoflurane Maquet Filling due to Risk of Patient and Health Care Professional Exposure to Toxic Chemical Hydrogen Fluoride | Vaporizer | Recall Confirmed
02/28/2025 | Ablation Catheter Correction: Biosense Webster Updates Use Instructions for Varipulse due to High Rate of Stroke or Transient Ischemic Attack | Ablation Catheter | Recall Confirmed
02/28/2025 | Patient Table Correction: Philips Updates Use Instructions for Allura and Azurion Systems due to Patient Fall Risk from Incorrectly Positioned Mattresses | Patient Table | Recall Confirmed
02/28/2025 | Regard Newborn Kit Recall: ROi CPS, LLC Removes Certain Newborn Kits Due to a Recalled Component, the Neo-Tee T-Piece Resuscitator With An Undersized Controller Spring | Resuscitator | Recall Confirmed
02/28/2025 | Endoscope Instrument Recall: Olympus Removes Single Use Guide Sheath Kits Due to Risk for Radiopaque Guide Sheath Tip Detaching During Procedures | Sheath Kit | Recall Confirmed
02/21/2025 | Pacemaker Recall: Boston Scientific Corporation Recalls Accolade Pacemaker Devices Due to a Manufacturing Issue That May Lead to Early Device Replacement | Pacemaker | Recall Confirmed
02/14/2025 | Heart Pump Recall: Abiomed, Inc. Updates Use Instructions for Impella RP with SmartAssist and Impella RP Flex with SmartAssist Due to A Risk That the Tip of Guidewires or Other Medical Devices May Come into Contact with The Impella Pump During Insertion, Adjustment, Or Removal | Heart Pump | Recall Confirmed
02/10/2025 | Breathing Circuit Kit Recall: Sentec/Percussionaire Removes VDR4 Phasitron Breathing Circuits due to Venturi Component Malfunctions that May Reduce Pressure and Volume Flow | Breathing Circuit | Recall Confirmed
02/06/2025 | Arterial Catheter Recall: Medline Industries, LP, Removes Integrated Arterial Catheters due to Excess Material at Catheter Hub that May Detach | Catheter Kit | Recall Confirmed
02/05/2025 | Continuous Ventilator Correction: Baxter Healthcare Corporation Issues Correction for Life2000 Ventilator due to a nonconforming battery charger, which triggers a battery alarm and renders the ventilator inoperable | Ventilator | Recall Confirmed
02/03/2025 | Pressure Monitoring Device Recall: Medtronic Neurosurgery Issues Correction for Becker and Exacta External Drainage and Monitoring Systems Due to Cracks And/Or Leaks in Stopcocks | Monitoring System | Recall Confirmed
01/31/2025 | Gas Powered Emergency Resuscitator Recall: Mercury Medical Removes Neo-Tee T-Piece Resuscitator Due to An Undersized Spring in The Controller That May Prevent the Device from Delivering the Required Pressure Levels Needed for Effective Ventilation | Resuscitator | Recall Confirmed
01/31/2025 | Update to Alert: Fluid Delivery Set Issue from Medline | Fluid Delivery Set | Recall Confirmed
01/31/2025 | Update to Alert: Extracorporeal Blood Circuit Issue from Nuwellis | Single Use Blood Circuit | Recall Confirmed
01/31/2025 | Update to Alert: Endoscope Accessories Forceps/Irrigation Plug Issue from Olympus | Endoscope Accessory | Recall Confirmed
01/31/2025 | Update to Alert: Nephroscope Sheath Issue from Trokamed GmbH | Nephroscope Sheath | Recall Confirmed
01/31/2025 | Update to Alert: Infusion Pump Issue from Fresenius Kabi USA | Infusion Pumps | Recall Confirmed
01/30/2025 | Glucose and Glucose/Ketone Meter Correction: Nova Biomedical Corporation Issues Software Correction for StatStrip Glucose and Glucose/Ketone Hospital Meters Due to Risk for Transmission of Incorrect Patient Results | Glucose Strip/Meter | Recall Confirmed
12/20/2024 | Infusion Pump Battery Recall: ICU Medical Removes Some CSB Batteries Intended For Use With Plum 360, A+, and A+3 Infusion Systems Due to Reports of Allegedly Counterfeit, Untested Batteries In Use | Infusion Pumps | Recall Confirmed
12/18/2024 | Catheter Correction: Boston Scientific Updates Use Instructions for POLARx and POLARx FIT Cryoablation Balloon Catheters due to Higher than Anticipated Number of Reports of Atrio-Esophageal Fistula | Balloon Catheter | Recall Confirmed
12/18/2024 | Implantable Marker Recall: Hologic Removes BioZorb 3D Bioabsorbable Markers due to Risk for Patient Complications | Implantable Radiographic Marker | Recall Confirmed